## Table 1
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 11/01/17 to 01/31/18 | [10 empty] | DMR Due Date: | [5 empty] | 2018-02-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 809 |  |  | = |  | 1760 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 9 | [10 empty] | = |  |  | 9 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | < |  |  |  | 1 |  |  |  |  | < |  |  | 1 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.4 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 29 of 30 days in November 2017, 23 of 31 days of December 2017 and 23 of 31 days of January 2018. The quarterly sample was collected on 12/13/2017.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-02-28 16:37 (Time Zone: -05:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-02-28 16:43 (Time Zone: -05:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [14 empty] | Permittee: Permittee Address: | [7 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441 | [21 empty] | Facility: GREENIDGE GENERATION LLC Facility Location: 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [14 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 02/01/18 to 04/30/18 | [14 empty] | DMR Due Date: | [7 empty] | 2018-05-28 | [21 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [14 empty] | Title: | [7 empty] | President | [21 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [37 empty] | # of Ex. | Frequency of Analysis | Sample Type
Code | Name | [11 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 | [10 empty] | Qualifier 2 |  |  | Value 2 | [10 empty] | Qualifier 3 |  |  |  | Value 3 | [5 empty] | Units
56 | Flow rate |  | 1 - Effluent Gross |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 1048 |  |  | = |  | 2293 |  |  | 07 - gal/d | [39 empty] | 0 | 01/90 - Quarterly | ES - ESTIMA
[10 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [40 empty] | 01/90 - Quarterly | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  | 0 |  | -- |  |  | Sample
[10 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [24 empty] | <= |  |  |  | 9 MAXIMUM | [5 empty] | 12 - SU |  | 01/90 - Quarterly | GR - GRAB
[10 empty] | Value NODI | [17 empty] | E - Analysis Not Conducted/No Sample | [28 empty] | E - Analysis Not Conducted/No Sample
530 | Solids, total suspended |  | 1 - Effluent Gross |  | 0 |  | -- |  |  | Sample
[10 empty] | Permit Req. | [28 empty] | <= |  |  | 30 MO AVG | [10 empty] | <= |  |  |  | 100 DAILY MX | [5 empty] | 19 - mg/L |  | 01/90 - Quarterly | GR - GRAB
[10 empty] | Value NODI | [31 empty] | E - Analysis Not Conducted/No Sample | [14 empty] | E - Analysis Not Conducted/No Sample
556 | Oil & Grease |  | 1 - Effluent Gross |  | 0 |  | -- |  |  | Sample
[10 empty] | Permit Req. | [42 empty] | <= |  |  |  | 15 DAILY MX | [5 empty] | 19 - mg/L |  | 01/90 - Quarterly | GR - GRAB
[10 empty] | Value NODI | [46 empty] | E - Analysis Not Conducted/No Sample
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 15 of 28 days in February 2018, 11 of 31 days in March 2018 and 18 of 33 days in April 2018. The quarterly sample was collected on 12/13/2017. Due to spotty operation a sampling event was unintentionally missed this quarter. Next quarter's sample was already taken in early May.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: | [11 empty] | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-05-25 14:28 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: | [11 empty] | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-05-25 15:08 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 05/01/18 to 06/30/18 | [10 empty] | DMR Due Date: | [5 empty] | 2018-07-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 1200 |  |  | = |  | 2400 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 6.9 | [10 empty] | = |  |  | 6.9 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | < |  |  |  | 1 |  |  |  |  | < |  |  | 1 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 17 of 31 days in May 2018 and 20 of 30 days in June 2018. The quarterly sample was collected on 5/3/2018.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-08-08 14:40 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-08-08 16:33 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 07/01/18 to 09/30/18 | [10 empty] | DMR Due Date: | [5 empty] | 2018-10-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 1232 |  |  | = |  | 2428 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 8.4 | [10 empty] | = |  |  | 8.4 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | < |  |  |  | 1 |  |  |  |  | < |  |  | 1 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709;Only days of active flow were used to calculate the monthly average flow rate. Sample was taken on 8/9/2018.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-10-22 15:43 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2018-10-26 11:59 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 10/01/18 to 12/31/18 | [10 empty] | DMR Due Date: | [5 empty] | 2019-01-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 649 |  |  | = |  | 1998 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 7.9 | [10 empty] | = |  |  | 7.9 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | < |  |  |  | 1 |  |  |  |  | < |  |  | 1 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 9 of 31 days in October 2018, 5 of 30 days in November 2018 and 25 of 31 days in December 2018. The quarterly sample was collected on 10/22/2018. The daily maximum flow rate was estimated in October.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-01-25 14:19 (Time Zone: -05:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-01-28 16:36 (Time Zone: -05:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 01/01/19 to 03/31/19 | [10 empty] | DMR Due Date: | [5 empty] | 2019-04-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 694 |  |  | = |  | 2214 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 7.7 | [10 empty] | = |  |  | 7.8 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | < |  |  |  | 1 |  |  |  |  | = |  |  | 1 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 29 of 31 days in January 2019, 15 of 28 days in February 2019 and 8 of 31 days in March 2019. Two quarterly samples were collected for pH and TSS on 1/17/2019 and 1/24/2019. Oil and Grease was only measured on the sample collected on 1/24/2019. The daily maximum flow rate was estimated in February.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-04-25 13:08 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-04-26 14:10 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 04/01/19 to 06/30/19 | [10 empty] | DMR Due Date: | [5 empty] | 2019-07-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 168 |  |  | = |  | 1672 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 8.1 | [10 empty] | = |  |  | 8.1 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | = |  |  |  | 3.3 |  |  |  |  | = |  |  | 3.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active 0 of 30 days in April 2019, 12 of 31 days in May 2019 and 30 of 30 days in June 2019. One quarterly sample was collected on 6/24/2019. The daily maximum flow rate was estimated in May.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-07-24 16:11 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-07-26 13:17 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [19 empty] | Facility: Facility Location: | [8 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 07/01/19 to 09/30/19 | [10 empty] | DMR Due Date: | [5 empty] | 2019-10-28 | [13 empty] | Status: | [8 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [5 empty] | President | [13 empty] | Telephone: | [8 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [21 empty] | # of Ex. |  |  | Frequency of Analysis | [6 empty] | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample |  |  | = |  |  | 432 |  |  | = |  | 1675 |  |  | 07 - gal/d | [23 empty] | 0 |  |  | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [26 empty] | 01/90 - Quarterly | [6 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 8.4 | [10 empty] | = |  |  | 8.4 |  |  |  | 12 - SU |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6 MINIMUM | [10 empty] | <= |  |  | 9 MAXIMUM |  |  |  | 12 - SU |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [19 empty] | = |  |  |  | 2 |  |  |  |  | = |  |  | 2 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [19 empty] | <= |  |  |  | 30 MO AVG |  |  |  |  | <= |  |  | 100 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [28 empty] | < |  |  | 5.3 |  |  |  | 19 - mg/L |  | 0 |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
[11 empty] | Permit Req. | [28 empty] | <= |  |  | 15 DAILY MX |  |  |  | 19 - mg/L |  |  |  |  | 01/90 - Quarterly | [6 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow were used to calculate the monthly average flow rate. Outfall 01A was active every day for all three months this quarter. One quarterly sample was collected on 7/18/2019. The daily maximum flow rate was estimated in September.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-10-25 12:07 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2019-10-28 13:45 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [11 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [21 empty] | Facility: Facility Loca |  |  |  |  | tion: |  |  | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [11 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 10/01/19 to 12/31/19 | [11 empty] | DMR Due Date: | [6 empty] | 2020-01-28 | [14 empty] | Status: | [7 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [11 empty] | Title: | [6 empty] | President | [14 empty] | Telephone: | [7 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI | [5 empty] | Quantity or Loading | [12 empty] | Quality or Concentration | [25 empty] | # of Ex. |  |  | Frequency of Analysis |  |  |  |  | Sample Type
Code | Name | [12 empty] | Qualifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  |  |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [30 empty] | 01/90 - Quarterly |  |  |  |  | ES - ESTIMA
[11 empty] | Value NODI | [5 empty] | C - No Discharge |  |  |  |  | C - No Discharge
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample
[11 empty] | Permit Req. | [15 empty] | >= |  | 6.0 MINIMUM | [12 empty] | <= |  |  | 9.0 MAXIMUM |  |  |  |  | 12 - SU | [5 empty] | 01/90 - Quarterly |  |  |  |  | GR - GRAB
[11 empty] | Value NODI | [17 empty] | C - No Discharge | [15 empty] | C - No Discharge
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample
[11 empty] | Permit Req. | [21 empty] | <= 30 |  |  |  | .0 MO AVG |  |  |  |  | <= |  |  | 100.0 DAILY MX |  |  |  |  | 19 - mg/L | [5 empty] | 01/90 - Quarterly |  |  |  |  | GR - GRAB
[11 empty] | Value NODI | [25 empty] | C - No Discharge | [7 empty] | C - No Discharge
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample
[11 empty] | Permit Req. | [30 empty] | <= |  |  | 15.0 DAILY MX |  |  |  |  | 19 - mg/L | [5 empty] | 01/90 - Quarterly |  |  |  |  | GR - GRAB
[11 empty] | Value NODI | [33 empty] | C - No Discharge
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
There was no Boiler Blowdown in the 4th quarter. Flow rate estimation (5% of Feedwater Outfall 02F) is only valid when there is concurrent electrical generation. The Station was out-of-service for the entire 4th quarter.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-01-28 08:36 (Time Zone: -05:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-01-28 08:38 (Time Zone: -05:00)
Permit
Permit #: Major: |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [21 empty] | Facility: Facility Location: | [7 empty] | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  | From 01/01/20 to 03/31/20 | [10 empty] | DMR Due Date: | [7 empty] | 2020-04-28 | [13 empty] | Status: | [7 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  | Dale Irwin | [10 empty] | Title: | [7 empty] | President | [13 empty] | Telephone: | [7 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  | --
Parameter |  |  | Monitoring Location |  |  | Season # |  | Param. NODI |  |  | Qu |  |  | Quantity or Loading | [12 empty] | Quality or Concentration | [23 empty] | # of Ex. |  |  | Frequency of Analysis | [5 empty] | Sample Type
Code | Name | [12 empty] | alifier 1 |  |  | Value 1 |  |  | Qualifier 2 |  | Value 2 |  |  | Units |  | Qualifier 1 |  | Value 1 |  |  | Qualifier 2 |  |  |  | Value 2 |  |  |  |  | Qualifier 3 |  |  | Value 3 |  |  |  | Units
56 | Flow rate |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample = | [5 empty] | 1677 |  |  | = |  | 2468 |  |  | 07 - gal/d | [25 empty] | 0 |  |  | 01/90 - Quarterly | [5 empty] | ES - ESTIMA
[11 empty] | Permit Req. | [5 empty] | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  | 07 - gal/d | [28 empty] | 01/90 - Quarterly | [5 empty] | ES - ESTIMA
Value NODI
400 | pH |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [15 empty] | = |  | 7.7 | [11 empty] | = |  |  | 7.7 |  |  |  | 12 - SU |  |  | 0 |  |  | 01/90 - Quarterly | [5 empty] | GR - GRAB
[11 empty] | Permit Req. | [15 empty] | >= |  | 6.0 MINIMUM | [11 empty] | <= |  |  | 9.0 MAXIMUM |  |  |  | 12 - SU | [5 empty] | 01/90 - Quarterly | [5 empty] | GR - GRAB
Value NODI
530 | Solids, total suspended |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [20 empty] | = |  |  |  | 5.4 |  |  |  |  | = |  |  | 5.4 |  |  |  | 19 - mg/L |  |  | 0 |  |  | 01/90 - Quarterly | [5 empty] | GR - GRAB
[11 empty] | Permit Req. | [20 empty] | <= |  |  |  | 30.0 MO AVG |  |  |  |  | <= |  |  | 100.0 DAILY MX |  |  |  | 19 - mg/L | [5 empty] | 01/90 - Quarterly | [5 empty] | GR - GRAB
Value NODI
556 | Oil & Grease |  | 1 - Effluent Gross |  |  | 0 |  | -- |  |  | Sample | [29 empty] | < |  |  | 5.4 |  |  |  | 19 - mg/L |  |  | 0 |  |  | 01/90 - Quarterly | [5 empty] | GR - GRAB
[11 empty] | Permit Req. | [29 empty] | <= |  |  | 15.0 DAILY MX |  |  |  | 19 - mg/L | [5 empty] | 01/90 - Quarterly | [5 empty] | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active flow concurrent with electrical generation are used to estimate the monthly average flow rate. Outfall 01A was active 30 of 31 days in January 2020, 28 of 29 days in February 2020 and all 31 days in March 2020. One quarterly sample was collected on 2/6/2020. The daily maximum flow rate estimate was in February.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-04-27 15:46 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-04-27 15:50 (Time Zone: -04:00)
Permit
Permit #: Major: |  |  |  | NY0001325 Yes | [10 empty] | Permittee: GREENIDGE GENERATION LLC Permittee Address: 590 PLANT ROAD DRESDEN, NY 14441 | [22 empty] | Facility: Facility Locatio | [5 empty] | n: |  | GREENIDGE GENERATION LLC 590 PLANT ROAD DRESDEN, NY 14441
Permitted Feature: |  |  |  | 01A Internal Outfall | [10 empty] | Discharge: 01A-Q UNITS 3 & 4 BOILER BLOWDOWN
Report Dates & Status
Monitoring Period: |  |  |  | From 04/01/20 to 06/30/20 | [10 empty] | DMR Due Date: | [6 empty] | 2020-07-28 | [15 empty] | Status: | [7 empty] | NetDMR Validated
Considerations for Form Completion
Principal Executive Officer
First Name: Last Name: |  |  |  | Dale Irwin | [10 empty] | Title: | [6 empty] | president | [15 empty] | Telephone: | [7 empty] | 315-536-2359
No Data Indicator (NODI)
Form NODI: |  |  |  | --
Parameter |  |  |  | Monitoring Location |  |  |  | Season # | Param. NODI | [7 empty] | Quantity or Loading | [11 empty] | Quality or Concentration | [25 empty] | # of Ex. |  |  | Frequency of Analysis |  |  |  | Sample Type
Code |  | Name | [14 empty] | Qualifier 1 | Value 1 |  |  |  | Qualifier 2 | Value 2 |  |  |  | Units |  | Qualifier 1 | Value 1 |  |  |  |  | Qualifier 2 |  |  |  |  | Value 2 |  |  |  | Qualifier 3 |  | Value 3 |  |  |  |  | Units
56 |  | Flow rate |  | 1 - Effluent Gross |  |  |  | 0 | -- |  |  |  | Sample |  |  |  | = | 1584 |  |  |  | = | 2029 |  |  |  | 07 - gal/d | [27 empty] | 0 |  |  | 01/90 - Quarterly |  |  |  | ES - ESTIMA
[13 empty] | Permit Req. |  |  |  |  | Req Mon MO AVG |  |  |  |  | Req Mon DAILY MX |  |  |  | 07 - gal/d | [30 empty] | 01/90 - Quarterly |  |  |  | ES - ESTIMA
Value NODI
400 |  | pH |  | 1 - Effluent Gross |  |  |  | 0 | -- |  |  |  | Sample | [15 empty] | = | 7.9 | [13 empty] | = |  | 7.9 |  |  |  |  | 12 - SU |  |  |  | 0 |  |  | 01/90 - Quarterly |  |  |  | GR - GRAB
[13 empty] | Permit Req. | [15 empty] | >= | 6.0 MINIMUM | [13 empty] | <= |  | 9.0 MAXIMUM |  |  |  |  | 12 - SU | [6 empty] | 01/90 - Quarterly |  |  |  | GR - GRAB
Value NODI
530 |  | Solids, total suspended |  | 1 - Effluent Gross |  |  |  | 0 | -- |  |  |  | Sample | [21 empty] | < |  |  |  |  | 1 |  |  |  | < |  | 1 |  |  |  |  | 19 - mg/L |  |  |  | 0 |  |  | 01/90 - Quarterly |  |  |  | GR - GRAB
[13 empty] | Permit Req. | [21 empty] | <= |  |  |  |  | 30.0 MO AVG |  |  |  | <= |  | 100.0 DAILY MX |  |  |  |  | 19 - mg/L | [6 empty] | 01/90 - Quarterly |  |  |  | GR - GRAB
Value NODI
556 |  | Oil & Grease |  | 1 - Effluent Gross |  |  |  | 0 | -- |  |  |  | Sample | [30 empty] | < |  | 5.3 |  |  |  |  | 19 - mg/L |  |  |  | 0 |  |  | 01/90 - Quarterly |  |  |  | GR - GRAB
[13 empty] | Permit Req. | [30 empty] | <= |  | 15.0 DAILY MX |  |  |  |  | 19 - mg/L | [6 empty] | 01/90 - Quarterly |  |  |  | GR - GRAB
Value NODI
Submission Note
If a parameter row does not contain any values for the Sample nor Effluent Trading, then none of the following fields will be submitted for that row: Units, Number of Excursions, Frequency of Analysis, and Sample Type.
Edit Check Errors
No errors.
Comments
ELAP# 10709; Only days of active feedwater flow concurrent with electrical generation are used to estimate the monthly average flow rate. Outfall 01A was active all days this quarter. One quarterly sample was collected on 4/9/2020. The daily maximum flow rate estimate was in June.
Attachments
No attachments.
Report Last Saved By GREENIDGE GENERATION LLC
User: Name: E-Mail: Date/Time: |  |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-07-28 14:29 (Time Zone: -04:00)
Report Last Signed By
User: Name: E-Mail: Date/Time: |  |  |  | bethany@jadenvegr.com Bethany Acquisto bethany@jadenvegr.com 2020-07-28 14:31 (Time Zone: -04:00)